A Manual of Audapter

Shanqing Cai
scai@bu.edu, shanqing.cai@gmail.com

Speech Laboratory,
Department of Speech, Language and Hearing Sciences,
Sargent College of Health and Rehabilitation Sciences,
Boston University

January 2014

# 1. Overview: What is Audapter?
Audapter is a software package for configurable real-time manipulation of acoustic parameters of speech that runs on general-purpose computers. It is designed for research on auditory-motor interactions in speech production, but may also be of use for certain speech signal processing applications. The current version of Audapter supports manipulation (i.e., perturbation) of the following acoustic parameters:
1. Formant frequencies (F1 and F2), in both static and time-varying ways
2. Fundamental frequency (F0, or pitch)
3. Local timing, through time-warping
4. Local intensity
5. Global time delay (delayed auditory feedback)
6. Global intensity
Perturbation types a – d can be automatically gated in on specific preselected parts of a given utterance, through a set of heuristic rules for online status tracking (OST, see Sect. X.X). Certain combinations of perturbation types (e.g., a and c, b and e) can be delivered simultaneously.
As a package, Audapter includes both the core algorithms for real-time speech signal processing and MATLAB wrap-arounds supporting psychophysical experiments. The real-time signal processing algorithms are coded in C++ and implemented as a MEX interface for MATLAB. A set of MATLAB scripts and programs are available for calling Audapter and utilizing it in various types of auditory feedback perturbation (AFP) experiments. These includes graphical user interfaces for stimulus presentation, experimental workflow control, data preprocessing, as well as basic analysis of ths data. Although Audapter has only be thoroughly used and tested on Windows PCs (both 32- and 64-bit), it should be portable to other platforms, including Mac.
Audapter was developed at the Speech Communication Group, Research Laboratory of Electronics (RLE), Massachusetts Institute of Technology (MIT) as well as the Speech Laboratory of Boston University. Marc Boucek (Ref) and Satrajit Ghosh originated the MEX C++ project. This code was partly based on algorithms written on DSP platforms by Virgilio Villacorta and Kevin J. Riley in earlier AFP experiments. Since 2007, Shanqing Cai, the author of this document, made extensive modifications to Audapter and added many new functions. Cai is currently the primary maintainer of this software package.
This manual will serve as a general guide to the usage of Audapter.

## 1.1. How to cite Audapter

# 2. Getting Started - Running Demos

The Audapter package comes with a set of demo scripts that show you the basic capacity of the software as well as serve as examples for programming your own Audapter applications.
Details on how to obtain, compile and set up Audapter can be found in Section X.X. To set up the environment properly, you need to add path to Shanqing Cai's MATLAB toolkit, by entering in MATLAB a command such as the following:
addpath e:/speechres/commonmcode
Then, use the cds script in the toolkit to set up the paths and environment automatically:
cds('ape')[1]
[1] “ape” stands for auditory perturbation experiment.
Demo 1: Formant perturbation
test_audapter('formant')
This command brings up two windows, each showing a spectrogram.

There are two demo routines in this package. They are
mcode/TransShiftDemo_Monophthong.m and mcode/TransShiftDemo_Triphthong.m. The
former demonstrates fixed perturbation (F1-up) on a steady-state vowel (/a/ in Mandarin); the
latter shows time-varying perturbation (F1-inflate) on a triphthong (/iau/ in Mandarin).
Running either file will generate two windows. The first window shows the spectrograms of
the original and shifted speech sounds with the F1 and F2 tracks overlaid. The second window
plots the original and shifted F1-F2 trajectories versus time and in a formant plane.
Note that in each of the two m-files, you can modify Line 3 to switch from a sound sample
produced by a male speaker to that produced by a female speaker, or vice versa. In Line 4, you
can specify whether the original and shifted sound will be played for you to hear.

3. Basic Ways of calling Audapter from MATLAB

TransShiftMex(0)
 Enumerate all recognized audio input/output devices.

TransShiftMex(1)
 Start a trial.

TransShiftMex(2)
 End a trial.

TransShiftMex(3, paramName, paramValue, toPrompt)
 Set a parameter. Table 1 contains a complete list of the parameters of TransShiftMex.
  paramName is a char string. It is the name of the parameter to be set.
  paramValue is an int, Boolean (0/1) or double type numerical scalar or vector. The appropriate type and
size are listed in Table 1.
  toPrompt is a Boolean number. It specifies whether TransShiftMex should generate a text prompt in
MATLAB upon setting the parameter.

[signalMat, dataMat] = TransShiftMex(4)
 Get data from TransShiftMex. This is usually done after a trial.
  signalMat is a Ns×2 matrix. Ns is the number of samples. The first column contains the input acoustic
signals, whose sampling frequency is specified in the parameter srate
1
. The second column contains the
output acoustic signal. When shifting is done (i.e., bshift = 1), this is the shifted sound. It has the same
sampling frequency as the input signal.

1
 In this manual, Italic fonts indicate parameters of TransShiftMex.
1
  dataMat is a Nf×k matrix, Nf being the number of frames. A frame corresponds to framelen time samples.
The number of columns, k, depends on the order of LPC and the number of tracked formants.
The meanings of the columns of dataMat are listed below.
    Column 1: sample number at the beginning of each frame.
 Column 2: unsmoothed frame-by-frame RMS amplitude of the input signal.
 Column 3: smoothed frame-by-frame RMS amplitude of the input signal.
 Column 4: smoothed frame-by-frame RMS amplitude of the pre-emphasized (high-pass filtered input
signal.
 Columns 5 - 8: formant frequency estimates of the first ntracks formants (Hz). Assume ntracks = 4.
 Columns 9 - 12: radii in the z-plane of the first ntracks formants. Asume ntracks = 4;.
 Columns 13 - 14: time derivatives of F1 and F2.
 Columns 15 - 16: F1 and F2 in the output signal. When shifting is done (i.e., bshift = 1), these are the
shifted F1 and F2.
 Columns 17 - k: the frame-by-frame LPC coefficients.

TransShiftMex(5, frameData)
 Offline calling of TransShiftMex. This is usually used in offline processing of data or debugging.
 frameData is a 1×(framelen×downfact) vector.

TransShiftMex(6)
 Reset the status of TransShiftMex.

TransShiftMex(11)
 Sine wave (pure tone) generator. Plays a continuous pure tone of frequency wgfreq (Hz), amplitude wgamp
and initial time wgtime, that is, wgamp×sin(wgfreq×(t+wgtime)). No ramp is imposed.

TransShiftMex(12)
 Waveform playback. The waveform is specified in the 1×120000 array datapb.

Table 1.Input parameters
Parameter
Name
Type Description Default value
2

srate int Sampling rate in Hz 120003

framelen int Frame length in number of samples 16
ndelay int Processing delay in number of frames 7
nwin int Number of windows per frame. Each
incoming frame is divided into nwin
windows
1
nlpc int Order of linear predictive coding (LPC) 13 for male speakers and 11 for
female speakers
nfmts int Number of formants to be shifted. 2
ntracks int Number of tracked formants. The 1st to the
nfmts-th formants will be tracked.
4
avglen int Length of the formant-frequency
smoothing window (in number of frames)
8
cepswinwidth int Low-pass cepstral liftering window size Depends on the F0 of the speaker .
See Section 1.3.
fb int Feedback mode.
0: mute (play no sound)
1: normal (speech only)
2: noise only
1

2
 These default values are contained in mcode/getDefaultParams.m.
3
 48000 Hz downsampled by a factor of 4.
2
 3: speech + noise.
Note: these options work only under
TransShiftMex(1).
minvowellen int Minimum allowed vowel duration (in
number of frames)
60 (60 * 16 / 12000 = 80 ms)
scale double Scaling factor imposed on the output 1
preemp double Pre-emphasis factor 0.98
rmsthr double Short-time RMS threshold Varies. Depends on many factors
such as microphone gain, speaker
volume, identity of the vowel, etc.
rmsratio double Threshold for short-time ratio between
original energy and high-pass energy. Used
in vowel detection. See Section 1.2.
1.3
rmsff double RMS calculation forget factor 0.95
wgfreq double Sine-wave generator frequency in Hz 1000
wgamp double Sine-wave generator frequency (wav amp) 0.1
wgtime double Sine-wave generator initial time, used to set
the initial phase.
0
datapb double,
1×120000
array
Arbitrary sound waveform for playback.
The sampling rate of the playback is 48000
Hz. Therefore TransShiftMex can playback
2.5 seconds of sound.
zeros(1,120000)
f2min double Lower boundary of the perturbation field
(unit: mel or Hz, dependent on bmelshift)
N/A
f2max double Upper boundary of the perturbation field
(unit: mel or Hz, dependent on bmelshift)
N/A
f1min double Left boundary of the perturbation field
(unit: mel or Hz, dependent on bmelshift)
N/A
f1max double Right boundary of the perturbation field
(unit: mel or Hz, dependent on bmelshift)
N/A
lbk double Slope of the tilted left boundary of the
perturbation field (unit: mel/mel or Hz/Hz,
dependent on bmelshift)
N/A
lbb double Intercept of the tilted right boundary of the
perturbation field (unit: mel or Hz,
dependent on bmelshift)
N/A
pertf2 double
1×257
array
The independent variable of the
perturbation vector field (unit: mel or Hz,
dependent on bmelshift). See Section 1.2.
N/A
pertamp double
1×257
array
The 1st dependent variable of the
perturbation field: amplitude of the vectors.
When bratioshift = 0, pertamp specifies the
absolute amout of formant shifting (in
either Hz or mel, depending on bmelshift).
When bratioshift = 1, pertamp specifies the
relative amount of formant shifting. See
Section 1.2.
N/A
pertphi double
1×257
array
The 2nd dependent variable of the
perturbation field: orientation angle of the
vectors (radians). See Section 1.2.
N/A
triallen double Length of the trial in sec. “triallen” seconds
past the onset of the trial, the playback gain
is set to zero.
2.5
ramplen double Length of the onset and offset linear ramps
in sec.
0.05
3
 afact double α factor of the penalty function used in
formant tracking. It is the weight on the
bandwidth criterion (see Section 1.4).
1
bfact double β factor of the penalty function used in
formant tracking. It is the weight on the a
priori knowledge of the formant
frequencies (see Section 1.4)..
0.8
gfact double γ factor of the penalty function used in
formant tracking. It is the weight on the
temporal smoothness criterion (see Section
1.4)..
1
fn1 double A priori expectation of F1 (Hz) 591 for male speakers; 675 for
female speakers. (Note these values
were selected for the Mandarin
triphthong /iau/.)
fn2 double A priori expectation of F2 (Hz) 1314 for male speakers; 1392 for
female speakers. (Note these values
were selected for the Mandarin
triphthong /iau/.)
bgainadapt Boolean A flag indicating whether gain adaptation is
to be used (See Section 1.6)
0
bshift Boolean A flag indicating whether formant
frequency shifting is to be used. Note: the
following parameters must be properly set
beforehand in order for the shifting to
work: rmsthresh, rmsratio, f1min, f1max,
f2min, f2max, lbk, lbb, pertf2, pertamp,
pertphi, bdetect.
1
btrack Boolean A flag indicating whether the formant
frequencies are tracked. It should almost
always be set to 1.
1
bdetect Boolean A flag indicating whether TransShiftMex is
to detect the time interval of a vowel. It
should be set to 1 whenver bshift is set to 1.
1
bweight Boolean A flag indicating whether TransShiftMex
will smooth the formant frequencies with
an RMS-based weighted averaging.
1
bcepslift Boolean A flag indicating whether TransShiftMex
will do the low-pass cepstral liftering.
Note: cepswinwidth needs to be set
properly in order for the cepstral liftering to
work.
1
bratioshift Boolean A flag indicating whether the data in
pertamp are absolute (0) or relative (1)
amount of formant shifting. See Section
1.2.
0
bmelshift Boolean A flag indicating whether the perturbation
field is defined in Hz (0) or in mel (1). See
Section 1.2.
1

4

Section 1.2. The perturbation field

Figure 1. A schematic drawing of the perturbation field. The dashed lines shows the
boundaries of the perturbation field. The arrows show the perturbation vectors. The
shaded region is the perturbation field. A and θ are the magnitude and angle of the vector,
which are both functions of F2.

The perturbation field is a region in the F1-F2 plane in which F1 and F2 will be shifted in a
F2-dependent way. As shown schematically shown in Fig. 1, the location of the field is defined
by five boundaries, which are respectively
F1 ≥ f1Min; (1)
F1 ≤ f1Max; (2)
F2 ≥ f2min; (3)
F2 ≤ f2max; (4)
F2 ≥ lbk × F1 + lbb, if lbk ≤ 0; or F2 ≤ lbk × F1 + lbb, if lbk > 0; (5)
Whether the units of f1min, f1max, f2min, f2max, lbb and lbk are Hz or mel depends on the
parameter bmelshift. When bmelshift = 1 (as by default), their units are mel; when bmelshift = 0;
their units are Hz. Meanwhile, a set of criteria about the short-time RMS need to be
simultaneously met in order for the formant shifting to happen. These are,
(RMSS > 2 × rmsthr and RMSS / RMSP > rmsratio / 1.3),
or, (RMSS > rmsthr and RMSS / RMSP > rmsratio), (6).
In Equation (6), RMSS is the smoothed frame-by-frame RMS amplitude of the input signal,
and RMSP is the smoothed frame-by-frame RMS amplitude of pre-emphasize (i.e., high-pass
filtered) version of the input signal. The ratio between RMSS and RMSP is an indicator of how
much the acoustic energy in the frame is dominated by the low-frequency bands. This ratio
should be high during a vowel sound, and relatively low during a consonant sound. The criterion
on this ratio reduces the possibility that an intense consonant is recognized as a vowel.
In summary, detection of a vowel and shifting its formant frequencies is contingent upon
simultaneous satisfaction of Equations (1) – (6). The boundary defined by Equation (5) is in
general a tilted line (see Fig. 1), and may seem a little bit peculiar. It was added because it was
5
 found to improve triphthong detection reliability in the Mandarin triphthong perturbation study.
If you find it not necessary, the most convenient way to disable it is to set lbb and lbk both to
zero.
Similarly, if your project is concerned with only a fixed amount perturbation to a steady-state
vowel, you may wish not to use the boundaries f1min, f1max, f2min, and f2max, and rely only on
the RMS criteria in Eqn. (6). You can achieve this by simply setting f1min and f2min to 0 and
f1max and f2max to sufficiently large values (e.g., 5000).
The perturbation field is a vector field (arrows in Fig. 1). Each vector specifies how much F1
and F2 will be perturbed, respectively. Each vector is defined by a magnitude A and an angle φ,
which corresponds to pertamp and pertphi in the parameter list. Both A and φ are functions of
F2. The unit of pertamp (Hz or mel) is dependent on bmelshift, in the same way as those of
f1min, f1max, f2min and f2max do. Whether pertamp is the absolute or relative amount of
shifting depends on bratioshift. When bratioshift = 0 (as by default), pertamp is the absolute
amount of shifting (either in Hz or mel, dependent on bratioshift). When bratioshift = 1, pertamp
is the ratio of shifting. For example, if bmelshift = 0, bratioshift = 1, pertamp = all 0.3’s and
pertphi = all 0’s, then the perturbation will be a uniform 30% increase in F1 of the vowel.
The mappings from F2 to A and φ are specified in the form of look-up tables (LUT) by the
three parameters pertf2, pertamp and pertphi, which are all 1×257 vectors. During the trial, the
amount of formant frequency shifting are determined by linear interpolation in this LUT.
This design should be general enough to allow flexible F2-dependent perturbations.
However, your project may concern with only fixed perturbation to a steady-state vowel, and
hence not require this flexible setup. If that’s the case, you can simply set both pertamp and
pertphi as constant. For example, if you want to introduce a 300-mel downward shift to the F1 of
a steady-state vowel (e.g., /ε/), you can simply set bmelshift = 1, bratioshift = 0, and let pertamp
be a 1×257 vector of all 300’s and let pertphi be a 1×257 vector of all π’s. Here, pertf2 should be
a 1×257 linear ramp from f2min to f2max.
You should also keep in mind that the parameters f1min, f1max, f2min, f2max, lbk, lbb,
pertf2, and pertamp all have units that are dependent on bmelshift, despite the fact that the
formant frequency outputs in dataMat (See Section 1.1) and other parameters of TransShiftMex
(e.g, srate, fn1, fn2, wgfreq, see Table 1) always have the unit of Hz.

Section 1.3. Cepstral liftering
To improve the quality of formant estimation for high-pitch speakers, low-pass liftering was
performed on the cepstrum, which consisted of the following steps.
1) Log magnitude spectrum of the signal was computed using fast Fourier transform.
2) The log magnitude spectrum was Fourier transformed to give the cepstrum.
3) The cepstrum was low-pass liftered by applying a rectangular window. The cut-off
quefrency of the window qc (in s) can be selected to be,
0 sec54.0 F qc = , (7).
where
0 F is the average fundamental frequency (F0) of the speaker. For example, if the
average F0 of the speaker is 200 Hz, then qc = 0.54 / 200 = 0.0027 (s). Since the sampling
rate of the signal is 12000 Hz by default, cepswinwidth should be 0.0027 s × 12000 Hz ≈
32.
4) The liftered cepstrum was transformed back into the frequency domain, and then back into
the time domain. LPC analysis was performed on the resultant time-domain signal.
6
 The effect of the cepstral liftering procedure is quantitatively evaluated in Section 2.1. It is our
recommendation that cepstral liftering should almost always be used, on both female and male
speakers. However, if you wish to disable it, you can achieve this by setting bcepslift to 0.
7

Section 1.4. Formant tracking based on a dynamic programming
algorithm (Xia and Espy-Wilson 2000)
To improve the estimation of moving formants of the time-varying vowels, the LPC
coefficients were subject to a dynamic programming formant tracker (Xia and Espy-Wilson,
2000), which was based on a cost function involving the following three criteria: (1) the
bandwidth of the formants, (2) deviation from a priori template frequencies, and (3) non-
smoothness of the frequencies. This algorithm uses Viterbi search to find the best path through
the lattice of candidate formants. Further details of this algorithm can be found in ref/ Xia&Espy-
Wilson2000.pdf.
Criterion (1) posits that a pole with relatively smaller bandwidths is more likely to be a true
formant. Criteria (2) compares different formant candidates to a priori (expected) values of F1
and F2, which can be set in parameters fn1 and fn2 (in Hz). For example, if you know in advance
that the speaker will produce a vowel /ε/, you should set fn1 and fn2 to values appropriate for
this vowel. Criterion (3) prevents sudden jumps in the tracked formant values, which is based on
the assumption that changes in the resonance property of the vocal tract should be relatively
smooth.
The relative weights of criteria (1), (2) and (3) can be set in parameters afact, bfact, and
gfact, respectively. For example, if you wish to put strong emphasis on the temporal smoothness
of the formant frequencies, you should set gfact to a value greater than the default 1.
This formant tracking algorithm can be disable by setting btrack to 0 if you wish. However, it
is strongly recommended not to do so.

Section 1.5. Smoothing of formant frequencies
To further improve the smoothness of the formant tracks, the estimated formant tracks were
smoothed online with a window whose width is avglen frames. This smoothing involves a
weighted averaging with the weights being the instantaneous root-mean-square (RMS) amplitude
of the signal. This effectively emphasizes the closed phase of the glottal cycles, which was aimed
at reducing the impact of the coupling of the sub-glottal resonances on the formant estimates.
The default value of avglen is 8 frames (10.33 ms). Larger avglen results in smoother
formant frequency estimates, however, it also introduces larger lags into the tracked formant
frequencies. Lags may not matter too much for steady-state vowels, but may pose a problem for
time-varying vowels (diphthongs and triphthongs).

Section 1.6. Gain adaptation
In Mark Boucek’s original design, he offered an option to adjust the gain of the shifted formant to
make it sound more natural. Details of this gain adaptation algorithm can be found in pp. 52 – 53 of his
thesis (Boucek 2007, see ref/Boucek-MSThesis-2007.pdf).
We found that this algorithm didn’t significantly improve the naturalness of the shifted sound (the
shifted sound already sounds reasonably natural). Therefore we decided not to use this algorithm by
default. If you wish to use it, you can set bgainadapt to 1.

Section 1.7. The onset and offset ramps
8
 During each trial, TransShiftMex introduces ramps to the output sound in order to prevent
the unpleasant discontinuities at the beginning and end. You can set the duration of the ramps in
parameter ramplen (in seconds). The duration between the two ramps, triallen, is equal to the
duration of the trial. triallen has the default value of 2.5 sec. Be careful if you wish to set triallen
to a value greater than 2.5 sec. There is no guarantee that it will work.
The onset and offset ramps are effective not only under the speech-only mode (fb=1), but
also under the noise-only (fb = 2) and speech+noise (fb = 3) modes (See Section 1.10). However,
it doesn’t work under the pure tone generater (TransShiftMex(11)) or the waveform playback
(TransShiftMex(12)) modes.

Section 1.8. Using the pure tone generator
In our experiment, it is often desirable to have a pure tone generator, which can be used in
audiometric procedures and calibrations. TransShiftMex offers such a capability. Running it
under mode 11, i.e., TransShiftMex(11) will generate a continuous tonal output. The frequency
of the sound is set in parameter wgfreq (in Hz); the amplitude is set in parameter wgamp (peak
amplitude); the initial time is set in wgtime (in sec). For example, if you want to generate a
continuous tone of 1 kHz with peak amplitude 0.1, of duration 1 sec and starting at phase 0, you
can use the following MATLAB commands.
TransShiftMex(3,’wgfreq’,1000,0);
TransShiftMex(3,’wgamp’,0.1,0);
TransShiftMex(3,’wgtime’,0,0);
TransShiftMex(11);
pause(1);
TransShiftMex(2);

However, this pure tone has no onset and offset ramps. If you wish to generate a tone burst with
onset and offset ramps, you will have to use the waveform playback function of TransShiftMex
(Section 1.9).

Section 1.9. Using the waveform playback function
To use the waveform playback function, you need to first set the waveform buffer in
parameter datapb. datapb has a sampling rate of 48000 Hz, and a buffer size of 120000 samples,
that is, 2.5 seconds. For example, running the following MATLAB commands will let
TransShiftMex playback the sound represented in the “snd”, a 1×120000 vector.
TransShiftMex(3,’datapb’,snd,0);
TransShiftMex(12);
pause(2.5);
TransShiftMex(2);
You should note that no onset and offset ramps are imposed during the playback.

Section 1.10. Blending noise with speech feedback during the trials
In speech feedback perturbation experiments, it is often desirable to entirely mask all
auditory feedback of speech by playing a relatively intense noise through the earphones, or to
mix speech feedback through the earphones with a masking noise of a certain level to mask bone
conducted feedback. You can achieve either of these by using fb = 2 or fb = 3 options under
TransShiftMex(1). The noise waveform can be set in datapb. It should be a 1×120000 vector.
When you use these options, onset and offset ramps will be imposed (See Section 1.7).
9

Section 2.1. Evaluating the accuracy of formant tracking
The accuracy of oformant tracking function of TransShiftMex was evaluated by running
TransShiftMex on a set of synthesized vowel sounds
4
. These 14 vowels sounds are IY, IH, EH,
AE, AH, AA, AO, UW, UH, ER, AY, EY, AW and OW
5
 in American English. Three different
profiles of F0s are generated: 1) constant, 2) falling and 3) rising. In constant-F0 profile, the F0
stays at one of the 8 F0 values throughout the course of the vowel. For the falling and rising
profiles, the F0 falls or rises linearly with time by 20% during the course of the vowel. A set of 8
onset F0 values were used for each gender: 90, 100, 110, … 150 for male; and 160, 180, 200, …,
300 for female.
Hence, the set of test vowels consisted of full combination of 2 genders, 8 onset F0 values, 3
temporal profiles of F0, and 14 vowel identities, which amounted to 672 vowels in total (336 for
each gender). Further details regarding the synthesis of these test vowels can be found in
speechsyn/genTestVowels.m. These results can be reproduced by running
mcode/evalTransShiftMex.m.
The error of the formant tracking was quantified as the relative error between the formant
frequencies used in synthesizing the vowels (F1S) and the formant frequencies estimated by
TransShiftMex (F1T):
∑ =
⎟
⎟
⎠
⎞
⎜
⎜
⎝
⎛ −
=
t
N
i S
S T
t
iF
iFiF
N
Err
1
2
1
)(1
)(1)(11
, (8)
∑ =
⎟
⎟
⎠
⎞
⎜
⎜
⎝
⎛ −
=
t
N
i S
S T
t
iF
iFiF
N
Err
1
2
2
)(2
)(2)(21
, (9)
In Equations (8) and (9), i denotes the temporal frame number, and Nt is the number of frames in
the vowel. Err1 and Err2 are the RMS fraction error for F1 and F2, respectively. In this
evaluation, the set of default parameters as listed in Table 1 is used. It should be noted that
different orders of LPC (nlpc) were used for the male and female voices. For male ones, nlpc =
13; for female ones, nlpc = 11. The window size of the low-pass cepstral liftering (if used) is
determined by Equation (7), according to the average F0 during each vowel.
Figures 2 and 3 show the results of evaluation for the male and female voices, respectively.
In these figures, each data point comes from averaging the results for 14 different English vowels
(see above). It can be seen that in both voices, there were trends for the error of formant tracking
to increase with increasing F0, as expected. These trends were more pronounced for the female
voice, which had higher F0s than the male one. Another noticeable general trend is that the
accuracy of formant tracking was poorer if the F0 is changing (falling or rising) during the
course of the vowel, which was of course due to the interference to LPC by F0. Comparison
between the blue and red curves in these two figures clearly shows that the cepstral liftering
improves the accuracy of formant tracking for both F1 and F2, in both constant-F0 and changing-
F0 vowels. In general, the effect of cepstral liftering is more salient at higher onset F0s. These
observations lead to our recommendation that the cepstral liftering should be almost always used
(bcepslift set to 1). This is especially important for high-pitch speakers and for utterances with
changing F0s.

4
 A MATLAB version of HLSyn (mlsyn) was used to synthesize these vowels.
5
 The phonetic notation here obeys ARPABET.
10

Figure 2. Results of evaluation of the accuracy of formant tracking by TransShiftMex on
a male voice (See text for details). RMS fraction errors are plotted against onset F0.
Different colors of the curves indicate whether cepstral liftering was used. Different
symbols correspond to different temporal profiles of F0 during the vowel (filled circles:
F0 constant; unfilled squares: F0 changing, that is, falling or rising). Left panel is for F1
and right for F2.

Figure 3. Results of evaluation of the accuracy of formant tracking by TransShiftMex on
a female voice (See text for details). The format of this figure is the same as that of Fig.
2.
11
 12

# X. Online Status Tracking (OST)
For certain psychophysical AFP applications, you may wish to use a multisyllabic speech utterance and impose the perturbation during specific sounds or syllables of the utterance. Online status tracking (OST) is a functionality of Audapter that serves this purpose. You can design a set of heuristic rules based on signal properties such as intensity to detect the onset and offset of various sounds in the utterance. With OST, Audapter assigns an integer status number to each input frame in real time. In post-processing, these state numbers are stored in data.ost_stat (see Sect. X.X). You can map these state numbers to various types of perturbations in by using perturbation configuration (PCF) files, a topic covered in Sect. X.X. Therefore OST and PCF work together to enable the online automatic triggering of perturbation events.
An OST file is an ASCII text file that configures the set of heuristic rules for tracking the progress of a speech utterance. It can be loaded into Audpater with the 'ost' option:
Audapter('ost', ost_fn, 0);
The second input argument is the name of the OST configuration file. The third argument is a Boolean flag for verbose mode.
Code Sample X below is an example OST file. You should follow this formant when creating your own OST files. This file consists of three parts. Part 1 is a single line that begins with rmsSlopeWin =. This configures the window size (in seconds) for computing the slopes of short-time RMS intensity. Part 2 begins with a line such as n = 3. This compulsory line specifies the number of OST rules in the OST file. The number of following lines in this part must match the value of n. Each of the following lines specifies a tracking rule. These rules are engaged sequentially during an online trial.
Code Sample X. An example online status tracking (OST) configuration file.
# Online status tracking (OST) configuration file / rmsSlopeWin = 0.030000 / # Main section: heuristic rules for tracking / n = 3 / 0 INTENSITY_RISE_HOLD 0.02 0.0200 {} # Detect the onset of the first word / 2 INTENSITY_FALL 0.01 0.0100 {} # Detect the end of the first word / 4 OST_END NaN NaN {} / # maxIOICfg / n = 1 / 2 0.2 4

Each line of OST rule consists of five fields that are words or numbers, separated by single spaces. The first field is the starting state (ost_stat) value. The second field selects the mode of tracking. It can be either a number from the first column of Table 1 or an all-upper-case string from the second column of the same table. Table 1 lists the currently supported modes of tracking. They are based mostly on short-time intensity, its rate of change (slope), and the ratio of spectral intensity in high- and low-freuency bands (e.g., mode numbers 30 and 31). If you wish to include new and/or more sophisticated modes of tracking, changes to the C++ source code of Audapter will have to be made. Specifically, the OST functions are package in header and source files ost.h and ost.cpp. The third and fourth fields of the line are the two mode-specific parameters that can be configured by the user. For example, in the tracking INTENSITY_RISE_HOLD, the user needs to set the intensity threshold and the hold duration in the third and fourth fields, respectively. The fourth column of Table 1 contains descriptions of these parameters. Note that some tracking modes are associated with two parameters, while others are associated with one or none. In the cases wherein fewer than two parameters are required, use the first several ones of the third and fourth fields, and leave the rest at NaN or arbitrary values. The fifth field of the line is a pair of curly brackets. This field serves no purpose in the current version of Audapter, but are reserved for potential future uses.
Each tracking mode is associated with a fixed increment in status number at the end of the mode. For example, the mode INTENSITY_RISE_HOLD involves an increment of 2 from the beginning to the end of the tracking. The last column of Table 1 lists these increment amounts. In Part 2 of the OST file, the first fields of the consecutive lines must match these increment values, otherwise unexpected and unpredictable tracking errors may occur. In other words, if the onset ost_stat value of an INTENSITY_RISE_HOLD rules is 0, for example, then the beginning ost_value of the next rule, specified in the following line, must be 2. It should also be noted that each set of OST rules must end with a rule of the OST_END tracking mode (e.g., see the code sample above).
Part 3 of the OST file is for the maximum-inter-onset-interval (maxIOI) mode of tracking. The maxIOI mode of tracking is a quite ad hoc way of dealing with possible tracking failure. It is essentially a way of telling the OST module of Audapter that you should proceed to a different state forcefully, regardless of the tracking rule, if a certain amount of time has elapsed from the onset of a given state. As you probably have come to realize, this is not an elegant way of approaching the tracking problem and should be used only as a last resort when necessary.
This part begins with a line which specifies the number of maxIOI rules. The number of the trailing lines in this section must match the value of n in this first line. In each of the trailing lines, there are three numbers. The first number is the onset ost_stat number. The second one is the maximum wait time, in seconds. The third onset is the value of ost_stat that Audapter will automatically jump to when this wait period has elapsed.
Consecutive parts in the OST file are separated by blank lines. You can insert comment lines in OST file. These comment lines should begin with the hash (#) character. You can also add comments to the end of uncommented lines (as in certain programming languages such as Python or MATLAB).

Table 1. A list of supported heuristic modes for online status tracking (OST)
Mode Number	Mode Name	Description and Example Usage	Parameters	Increment in OST state number
0	OST_END	Serves as an ending rule. Once a rule of this mode is reached, OST halts and the status number freezes at the current value until the end of the trial. Each OST file must end with this rule.	(None)	0
1	ELAPSED_TIME	Elapsed time from previous state / Example: Wait for a fixed amount of time (e.g., 100 ms) after voicing onset	prm1: duration	+1
5	INTENSITY_RISE_HOLD	Crossing an intensity (RMS) threshold from below and hold Example: Detect the onset of a vowel or a voiced consonant-vowel cluster	prm1: rmsThresh / prm2: minDur (s)	+2
6	INTENSITY_RISE_HOLD_POS_SLOPE	Crossing an intensity threshold from below and hold, during positive RMS slope Example: Detect the onset of a vowel, with added security	prm1: rmsThresh / prm2: minDur (s)	+2
10	POS_INTENSITY_SLOPE_STRETCH	Stretch of positive intensity slope, with only a stretch count threshold / Example: This is still another way to detect the onset of a vowel or voiced consonant	prm1: stretchCntThresh	+2
11	NEG_INTENSITY_SLOPE_STRETCH_SPAN	Stretch of negative intensity slope, with a stretch count threshold and a stretch span threshold Example: Detect the end of a vowel or the silent interval between a vowel and a stop consonant	prm1: stretchCntThresh / prm2: stretchSpanThresh	+2
20	INTENSITY_FALL	Fall from a certain intensity threshold / Example: Detect the end of a vowel	prm1: rmsThresh / prm2: minDur (s)	+1
30	INTENSITY_RATIO_RISE	Intensity ratio (TODO: Explain) cross from below and hold / Example: Detect the onset of a sibilant (e.g., [s])	prm1: rmsRatioThresh / prm2: minDur (s)	+2
31	INTENSITY_RATIO_FALL_HOLD	Intensity ratio: fall from a threshold and hold / Example: Detect the end of a sibilant (e.g., [s])	prm1: rmsRatioThresh / prm2: minDur (s)	+2

# X. Perturbation configuration files (PCFs)
Once you have the OST heuristics configured, the next step in enabling focal perturbation of AF is supplying Audapter with a perturbation configuration file (PCF). Similar to OST files, you can input a PCF into Audapter by using the following syntax:
Audapter('pcf', pcf_fn, 0);
 The perturbation settings in a PCF file is divided into two parts:
1. Time warping settings
2. Settings for pitch, intensity and formant perturbations to be delivered at each specific state number
This two-part organization is reflected in the structure of the PCF files. See the following code example:
Code Sample X2. An example online status tracking (OST) configuration file.
# Section 1 (Time warping): (state number), tBegin, rate1, dur1, durHold, rate2 / 2 / 0.94, 0.1, 0.1, 0.1, 1.5 # Time warping 1 / 1.502, 0.1, 0.1, 0.1, 1.5 # Time warping 2 / # Section 2: stat pitchShift(st) gainShift(dB) fmtPertAmp fmtPertPhi(rad) / 6 / 0, 0.0, 0, 0, 0 / 1, 0.0, 0, 0, 0 / 2, 0.0, 0, 0, 0 / 3, 0.0, 0, 0, 0 / 4, 0.0, 0, 0, 0 / 5, 2.0, 0, 0, 0 # Two-semitone upward pitch perturbation during the last word

This example PCF file defines two types of perturbations during a single utterance: two temporally non-overlapping time warps in Section 1 and a two-semitone	pitch shift in Section 2.
The syntax of Section 1 (time warping) is as follows. You begin by including a line consisting of a single positive integer, specifying the number of time warping events in the utterance. Following this line, the correct number of lines need to be entered, defining details of each time-warping event. There are two possible formatting for each line. In the first format, five numbers are included in the line. These five numbers provide Audapter with the following pieces of information, respectively,
1. tBegin: The onset time of the warp event (relative to utterance onset)
2. rate1: The rate of initial time warping, with <1 being time dilation. In fact, this number has to be ≤1.0 in order for the system to be causal.
3. dur1: Duration of the initial warping at rate1.
4. durHold: Duration of the hold (i.e., no-warping) period following dur1
5. rate2: rate of the time warping in the catch-up (or recovery) period. This number has to be ≥1.0.
  In total, a time warping event configured in this format lasts for a total duration of
  tBegin + dur1 + durHold + dur2
  wherein
  dur2 = (1 - rate1) / (rate2 - 1) × dur1
  When more than one warping events are specified in this format, Audapter will check to make sure that there are no temporal overlap between them. It will report error if an overlap exists.
In format 2, six, instead of five, numbers are included in each line. The first number should be an integer and it specifies the OST status number the time-warping event resides in. In this format, the onset timing of the warping event is relative to the onset time of the specified status number, not the onset of the utterance. The following five numbers have the same meaning as the numbers in line format 1. As in formant 1, Audapter will look for temporal overlaps between time-warping events of the same OST status number and report an error if it finds any. However, because the onset timing of different OST status numbers cannot be predicted beforehand, Audapter will not attempt to check overlaps between time-warping events between different OST numbers or between time-warping events specified with different formats.
Note that the sample PCF file above includes only format 1.
In Section 2 of the PCF file, you define the amount of the following three types of non-time-warping perturbations at each OST status number. This section needs to start with a line consisting of a single integer that specifies the total number of different OST status numbers. Since OST status numbers always begin at 0, this integer should be one plus the maximum OST status number in the OST file you are using.
The following lines have a fixed format, namely five numbers separated by commas and/or spaces. These five numbers, in order, define the following perturbation settings:
1. 1st number: The OST status number. Note that this has to be sequential. You cannot skip status numbers or include status numbers that are outside the possible range.
2. 2nd number: The amount of pitch shifting, in semitones. Positive values correspond to upward pitch shifts, while negative ones corresponds to downward shifts.
3. 3rd number: The amount of intensity perturbation, in dB.
4. 4th number: The magnitude of joint F1-F2 perturbation vector, in the formant plane spanned by F1 and F2. The unit of this depends on the bRatioShift parameter set in Audapter (see Section XX and Table XX). If it is set to 0 (false), the unit will be Hz. Otherwise this number is dimensionless and specifies the ratio (fraction) of formant shifts.
5. 5th number: The angle of the formant perturbation vector, in radians. For example, an angle of 0 leads to a pure upward F1 perturbation. An angle of -π/2 leads to a pure downward F2 perturbation. An angle of π/4 is used to specify equal amounts of perturbation to F1 and F2.
As in an OST file, you can add comments to the PCF file with the “#” character (see Code Sample X2).

# X. TODO List in Audapter Development

# References
Boucek M. (2007). The nature of planned acoustic trajectories. Unpublished M.S. thesis.
Universität Karlsruhe.
Xia K, Espy-Wilson C. (2000). A new strategy of formant tracking based on dynamic
programming. In ICSLP2000, Beijing, China, October 2000.